Reception Form of Battery PIT/RST

| Manufacturer’s Name |  |
| --- | --- |
| Manufacturer’s Address | Mailing: |
|  | Email: |
|  | Website: |
| Local Supplier |  |
| Local Supplier's Address | Mailing: |
|  | Email: |
|  | Tel / Mobile: |
|  | Contact Person: |
| Manufactured | Locally manufactured Locally assembled with CKD and SKD parts imported Imported from Locally purchased from |
| Brand / Model |  |
| Serial numbers |  |
| Battery type | Vented (Flooded) Tubular Plate VRLA Tubular Plate Li-Ion (LiFePO4, …….…) AGM Others……… |
| Nominal capacity | Ah @ C…….@ …….°C Tolerance: ± Ah or ± % |
| Battery Voltage (@100% SOC) | 14.6 V 15.6 V Other: V |
| Specific gravity of electrolyte corresponding to 100% SOC | 1.240 1.250 1.260 1.270 1.280 Other: |
| Operating temperature | Minimum: °C Maximum: °C |
| Battery Voltage (@100% DOD) | 8.5 V 10.5 V Other: V |
| Temperature coefficient of variation of capacity | 0.6 %/°C 0.8 %/°C 0.4 %/°C Other: %/°C |
| Charge/Discharge Efficiency (%) | % @ …….°C |
| Electrolyte Level Indicator | Yes No Not Applicable |
| Amount of electrolyte | Liters/Cell (if Applicable) |
| Protection Included on Battery Management System (BMS) for Li-Ion Battery | Cell Level: Voltage Current Temp. Full Circuit: Thermal Runaway Over Charging Over Discharging Others………. |
| Protection against short circuit | Battery box Terminal isolators Other: |
| Need of Maintenance | Maintenance required Maintenance free |
| Performance guarantee in cycles | 80% depth of discharge: cycles @ ......°C |
| Additional description | Positive plate: Negative plate: Separator: Terminal Post: |
| International test certificates | Yes (Specify: ) No |
| International Standards fulfilled (IEC, ISO, Others) | IEC (61427-1:2013, 60896-21:2004, 60896-22:2004, 61427-2:2015, 60896-11:2002, 62619:2022) ISO: Others: |

Name:							        Company Stamp:

Designation:

Signature:						        Date: