Reception Form of Battery PIT/RST

| Manufacturer’s Name |  |
| --- | --- |
| Manufacturer’s Address | Mailing: |
|  | Email: |
|  | Website: |
| Local Supplier: (Name) |  |
| Local Supplier's Address | Mailing: |
|  | Email: |
|  | Tel: |
| Manufactured | Locally manufactured Locally assembled with CKD and SKD parts imported Imported, if imported then With exclusive dealership and imported from Without exclusive dealership and imported from Locally purchased from |
| Brand / Model |  |
| Serial numbers |  |
| Battery type | Vented (Flooded) Flat Plate Tubular Plate Sealed AGM Gel Ni-MH Li-Ion LiFePO4 |
| Nominal capacity (C20 or C10 or C5 @ 25°C) | Ah @ C20 or C10 or C5 Tolerance ± Ah |
| Battery full charge voltage (100% SOC) | 14.8 V 15.6 V 16.0 V Other: V |
| Specific gravity of electrolyte corresponding to 100% SOC | 1.240 1.250 1.265 1.277 1.280 Other: |
| Operating temperature | Minimum: °C Maximum: °C |
| Battery discharging cut off voltage | 10.5 V 10.8 V 11.1 V Other: V |
| Specific gravity of electrolyte corresponding to 0% SOC | 1.02 1.03 1.05 1.12 1.13 Other: |
| Temperature coefficient of variation of capacity | 0.6 %/°C 0.8 %/°C 0.4 %/°C Other: %/°C |
| Charge/Discharge Efficiency (%) | % @ …….°C |
| Electrolyte Level Indicator | Yes No |
| Amount of electrolyte | liters/cell |
| Electrolyte level indicator | Yes No |
| Protection against short circuit | Battery box Terminal isolators Other: |
| Maintenance | Maintenance required Maintenance free |
| International test certificates | Yes (Specify: ) No |
| Performance guarantee in cycles @ 25°C | 20% depth of discharge: cycles 70% depth of discharge: cycles |
| Additional description | Plate thickness Positive plate: mm; Negative plate: mm Plate condition: Separator: Terminal Post: |
| International Standards fulfilled (IEC, ISO, Others) | IEC Other: |

Name:							        Company Stamp:

Designation:

Signature:						        Date: