Reception Form of Charge Controller; PIT /RST

| Manufacturer’s Name |  |
| --- | --- |
| Manufacturer’s Address | Mailing: |
|  | Contact Person: |
|  | Email: |
|  | Website: |
| Local Supplier |  |
| Local Supplier's Address | Mailing: |
|  | Email: |
|  | Tel: |
| Manufactured | Locally manufactured Locally assembled with CKD and SKD parts imported Imported, if imported then With exclusive dealership and imported from Without exclusive dealership and imported from Locally purchased from |
| Brand / Model |  |
| Serial numbers |  |
| Charge regulation type (for PWM type) | Series Shunt |
| Switching device | Electromagnetic Semiconductor |
| PCB in used | Glass Epoxy Metal PCB |
| Mobile phone charger (SMPS type) | Inbuilt Out Side |
| Efficiency of Mobile phone charger | % |
| Mode of operation | PWM MPPT Other: |
| Type of battery to be used | Li-Ion Lead-Acid Ni- MH Others |
| Maximum charging / load current | A / A |
| Efficiency of charge controller | % |
| Self-consumption | mA @ 12V/24V/36V/48V |
| Built-in indicators | Battery status Charging Other: |
| Battery low voltage disconnect range | LVD at: V ± % LVR at: V ± % |
| Battery overcharge disconnect range (for PWM type) | HVD at: V ± % HVR at: V ± % |
| Solar Input Voltage Range (for MPPT) | From ………V To ……… V |
| Maximum Power Rating (for MPPT type) | W |
| Adjustment of set points | Fixed Adjustable |
| Overload protection on load side | Yes No |
| Component used for protecting overload on load side | Circuit breaker Glass fuse Electronic fuse Others: |
| Protection against | Reverse polarity on PV side Reverse polarity on Battery side Surge on PV side Short circuit on Load Reverse current on PV side (i.e. from Battery to panel) Over current on load side Other: |
| Operating temperature | Minimum: °C Maximum: °C |
| Temperature compensation | Yes ( mV per °C) No |
| Application | Indoor only Indoor and outdoor |
| Additional description |  |
| International Standards fulfilled (IEC, ISO, Others) |  |

Name:								Company Stamp:

Designation:

Signature:							Date: