Reception Form for Testing of Battery Inverter

| Manufacturer’s Name |  |
| --- | --- |
| Manufacturer’s Address | Mailing: |
|  | Email: |
|  | Website: |
| Local Supplier (who bring) |  |
| Local Supplier's Address | Mailing: |
|  | Email: |
|  | Tel/Mobile: |
|  | Contact Person: |
| Manufactured | Locally manufactured Locally assembled with CKD and SKD parts imported Imported from ………………………… Locally purchased from ………………… |
| Brand / Model |  |
| Serial No. |  |
| Type of Inverter | Off-Grid Hybrid Bidirectional |
| Charging Priority (for hybrid) | Solar AC Mains Other………… |
| Nominal battery voltage | V DC |
| Input voltage range | From ….V DC To ….V DC |
| Output voltage | V AC, Tolerance: ± % |
| Efficiency | % @ resistive full load |
| Output frequency | Hz, Tolerance: ± % |
| Total Harmonic Distortion | % @ full load |
| Nominal power | W, VA |
| Maximum Input Current | A(DC) |
| Maximum load current | A(AC) |
| Power factor |  |
| Self-consumption | mA or W |
| Built-in indicators | Main Charging Inverter ON Overload Short Circuit Other:……………. |
| Low Battery Shut Down | Load disconnect (LVD) at: V ± % |
| Protection Against | Short circuit of the output terminals Reverse polarity on DC input terminals Overload, over temperature Other:.…………… |
| Operating temperature | Minimum °C Maximum: °C |
| AC Charging | Yes No |
| Temperature compensation | Yes ( mV/°C/cell) No |
| IP Protection | IP21 (according to IEC60529) No |
| Noise produced | dB at a distance of meters |
| Warranty Years | Years |
| Additional description (if any) |  |
| International Standards fulfilled (IEC, ISO, Others) | IEC 62109-1:2010 ISO ………………… Others ………………………… |

Name:								Company Stamp:

Designation:

Signature:							Date: