Reception Form for Technical Inspection of ON-Grid Solar Inverter

| Manufacturer’s Name |  |  |
| --- | --- | --- |
| Manufacturer’s Address | Mailing: |  |
|  | Email: |  |
|  | Website: |  |
| Local Supplier |  |  |
| Local Supplier's Address | Mailing: |  |
|  | Email: |  |
|  | Tel: |  |
| Inverter Installed Company Full Name & Address | Name: |  |
|  | Address: |  |
| DCS of NEA (Location) |  |  |
| Manufactured | Imported, if imported then With exclusive dealership and imported from …………….. Without exclusive dealership and imported from …………. Locally purchased from ………………… (Submit evidence for exclusive dealership and specify company name and address of delivery) |  |
| Brand / Model |  |  |
| Serial No. |  |  |
| Type of Inverter | Off- Grid On- Grid |  |
| Total Number of Inverters |  |  |
| Total Number of Strings/MPPTs Used | Inverter1: | Inverter2: |
|  | Inverter3: | Inverter4: |
|  | Inverter5: | Inverter6: |
| Total Number of PV Modules: | …… No.s of …..Wp PV Modules Connected |  |
| Input voltage range | From ….V DC To ….V DC |  |
| Output voltage | From ….V AC To ….V AC |  |
| Inverter Efficiency at rated resistive load | % |  |
| Output frequency | Hz |  |
| Total harmonic distortion (THD) | % |  |
| Nominal power | W VA |  |
| Maximum Input Current | A(DC) |  |
| Maximum load current | A(AC) |  |
| Power factor | 0.8 1.0 Other: |  |
| Anti-islanding | Yes No |  |
| Built-in indicators | Charging ………. Other: ……………. |  |
| Protection against | Short circuit on output terminals Reverse polarity on DC input terminals Overload, over temperature Other: ……………………… |  |
| Operating temperature | Minimum °C Maximum: °C |  |
| AC Charging | Yes No |  |
| Temperature compensation | Yes ( mV/°C/cell) No |  |
| Application | Indoor only Indoor and outdoor |  |
| Audible noise produced by inverter | dB at a distance of meters |  |
| Warranty Years | Years |  |
| Additional description |  |  |
| International Standards fulfilled (IEC, ISO, Others) |  |  |

Name:								Company Stamp:

Designation:

Signature:							Date: